## Sheet1
Id | Start time | Completion time | Email | Name | Date of Audit | Business Unit | Client | Building/Location | Total Open Reactive tasks Year-to-Date | Total Closed Reactive tasks Year-to-Date | Total Open PPM tasks Year-to-Date | Total Closed PPM tasks Year-to-Date | Review Five Completed PPM's from Previous Month.PPM Task Sheet Found (Document Control) | Review Five Completed PPM's from Previous Month.PPM Task Sheet Signed (Ownership) | Review Five Completed PPM's from Previous Month.PPM Task Sheet Filled in Correctly | Review Five Completed PPM's from Previous Month.PPM Task Sheet has been correctly updated into CAFM | Review Five Completed PPM's from Previous Month.Physical check the PPM was completed Correctly as per SFG20 | List the Five completed PPM's that were Reviewed | Date of last Fire Evacuation Drill | Date of Next Fire Evacuation Drill | Observe two PPM Tasks Being Carried Out.Check Method Statement and Risk Assessment is in place for PPM | Observe two PPM Tasks Being Carried Out.Check evidence that Method statement and Risk Assessment has been briefed to Operatives | Observe two PPM Tasks Being Carried Out.Are Operatives using the correct PPE | Observe two PPM Tasks Being Carried Out.Was the PPM completed as per SFG20 | Observe two PPM Tasks Being Carried Out.Was the PPM task sheet filled in correctly | Observe two PPM Tasks Being Carried Out.Operatives had correct tools and equipment | Observe two PPM Tasks Being Carried Out.PPM task location was left clean & tidy | Observe two PPM Tasks Being Carried Out.PPM task location was made safe prior to working (signage, lockout/tagout. etc) | List the PPM Observed | Log Books & Testing.Review Fire Alarm log Book ensure tests have been carried out as required | Log Books & Testing.Review Water Treatment Log Book ensure tests have been carried out as required | Log Books & Testing.Review Lift Log Book ensure tests have been carried out as required | Log Books & Testing.Review BMS Log Book ensure alarms and faults have been noted and actioned | Log Books & Testing.Fire extinguishers have had an annual maintenance inspection and service | Log Books & Testing.Review UPS & Backup Generator Log book ensure tests have been carried out as required | Document Control & Procedures.Emergency Escalation Plan | Document Control & Procedures.Rain Plan | Document Control & Procedures.Lift Entrapment Plan | Document Control & Procedures.Water & Power Loss Procedure | Document Control & Procedures.Fire Alarm Procedure | Document Control & Procedures.Emergency Evacuation Procedure | Document Control & Procedures.Mechanical and electrical line diagrams are in place | Document Control & Procedures.Forward Maintenance Register is in place and up to date | Document Control & Procedures.Document Control is in place | Document Control & Procedures Comments/Observations | House Keeping Standards.Plant Room(s) are clean, tidy and no visible watermarks/leaks | House Keeping Standards.Plant rooms are Locked/Secured | House Keeping Standards.Storerooms are clean, organised and tidy | House Keeping Standards.Offices are clean and tidy | Grooming Standards.Body Odour Acceptable | Grooming Standards.Clean Shaven/Beard Trimmed | Grooming Standards.Hair Neat & Tidy | Grooming Standards.Wearing Correct Initial Uniform | Grooming Standards.Shirt Tucked Into Trousers | Grooming Standards.Black Belt Worn | Grooming Standards.Black Safety Shoes Clean & Polished | Grooming Standards.Company ID Card Visible | Additional Comments/Observations | Month | YEAR-MONTH | Region
1 | 2024-02-13 19:53 | 2024-02-13 19:59 | academy@xyz.com | Academy | 2024-02-14 | Engineering | IKEA | Jeddah - Tahliyah St | 734 | 524 | 937 | 735 | 5 | 3 | 4 | 1 | 3 | IKEA-HV-037-Q IKEA-EL-129-S IKEA-HV-154-M IKEA-PL-027-A IKEA-MC-138-W | 2024-01-31 | 2024-07-31 | 2 | 2 | 2 | 1 | 1 | 0 | 2 | 1 | IKEA-HV-271-M IKEA-EL-231-S | Out of Scope | Yes | Yes | No | Yes | No | Yes | Yes | Out of Scope | Yes | No | No | Yes | Yes | No | NA | Yes | No | Yes | Yes | 3 | 4 | 2 | 2 | 4 | 5 | 1 | 4 | NA | February | 2024-Feb
2 | 2024-02-13 20:04 | 2024-02-13 20:08 | academy@xyz.com | Academy | 2024-01-15 | FM | KAEC | Admin Building | 524 | 241 | 325 | 264 | 1 | 3 | 5 | 3 | 1 | KAEC-HV-037-Q KAEC-EL-129-S KAEC-HV-154-M KAEC-PL-027-A KAEC-MC-138-W |  |  | 2 | 1 | 2 | 2 | 0 | 1 | 2 | 1 | KAEC-HV-271-M KAEC-EL-231-S | Out of Scope | Yes | No | Yes | Yes | Out of Scope | Out of Scope | Yes | Yes | Yes | Out of Scope | Out of Scope | No | No | Yes | NA | Yes | No | No | Yes | 4 | 1 | 2 | 4 | 3 | 5 | 5 | 2 | NA | January | 2024-Jan
3 | 2024-02-13 20:08 | 2024-02-13 20:13 | academy@xyz.com | Academy | 2024-01-11 | Engineering | Maaden | Jubail | 34 | 23 | 89 | 65 | 4 | 2 | 5 | 0 | 3 | MADN-HV-037-Q MADN-EL-129-S MADN-HV-154-M MADN-PL-027-A MADN-MC-138-W | 2024-02-06 | 2025-02-06 | 2 | 2 | 2 | 2 | 1 | 2 | 0 | 2 | MADN-HV-271-M MADN-EL-231-S | Yes | Yes | Out of Scope | Yes | Yes | Yes | Yes | Yes | Out of Scope | Out of Scope | Yes | Yes | No | Yes | Yes | NA | Yes | Yes | No | Yes | 4 | 2 | 3 | 0 | 2 | 3 | 1 | 5 | NA | January | 2024-Jan
4 | 2024-02-14 10:14 | 2024-02-14 10:36 | mazin.ghamdi@xyz.com | Mazin Ghamdi | 2024-02-14 | FM | Pepsi | Dammam Building 2 | 467 | 361 | 783 | 589 | 5 | 1 | 2 | 4 | 5 | PPSI-HV-037-Q PPSI-EL-129-S PPSI-HV-154-M PPSI-PL-027-A PPSI-MC-138-W | 2023-02-27 | 2024-02-27 | 2 | 1 | 2 | 2 | 0 | 1 | 0 | 2 | PPSI-HV-271 PPSI-EL-231 | Yes | Out of Scope | No | Out of Scope | Out of Scope | Yes | No | No | Out of Scope | Out of Scope | Yes | Yes | No | No | Yes | Requested of client, but not yet delivered | No | Yes | Yes | Yes | 2 | 1 | 3 | 0 | 3 | 2 | 3 | 4 | NA | February | 2024-Feb